|  | Text (English) | Translation |
| --- | --- | --- |
| 1 | The SmartCan™ Disposable CO2 Absorber |  |
| 2 | The SmartCan™ Intersurgical’s easy to use disposable absorber that has been developed specifically for clinical use during anaesthesia to absorb carbon dioxide within an anaesthetic breathing system |  |
| 3 | Fast and easy exchange Enables fast exchange of absorbent without the need for time consuming pouring of loose granules, or the risk of contamination |  |
| 4 | Medical grade absorbents For extra safety with volatile anaesthetics |  |
| 5 | Air-tight seal for storage |  |
| 6 | No dust emission Low resistance scrim membranes ensure that any fine particles or dust are retained within the absorber and not allowed to escape into the breathing system or into the atmospher during handling |  |
| 7 | Efficient CO2 absorption A gas dispersion chamber at the base allows for optimum flow up through the absorbent |  |
| 8 | SmartCan™ Spherasorb™ white to violet |  |
| 9 | SmartCan™ Spherasorb™ green to violet |  |
| 10 | SmartCan™ LoFloSorb™ Pink to white |  |
| 11 | Fitting The SmartCan™ |  |
| 12 | Before fitting ensure that the granules inside are settled and level. |  |
| 13 | This is to provide optimum performance. |  |
| 14 | This can be achieved by a few gentle taps. |  |
| 15 | Remove the twin seal cap. |  |
| 16 | Guide The SmartCan into the machine. |  |
| 17 | Then simply push up the lever. |  |
| 18 | The SmartCan is now raised into the locked position and is ready for the pre-use leakage test. |  |
| 19 | To remove The SmartCan simply pull the lever down. |  |
| 20 | The SmartCan is compatible with the GE Healthcare®, anaesthesia, Carestation® 650™, Carestation® 620™, Carestation® 650c Pendant™ Carestation® 650c Wall Mount™ and Carestation 750™ |  |
| 21 | It is essential that the user follows both the instructions for use of the appropriate GE Carestation and also the instructions for use supplied with each box of Intersurgical SmartCan absorbers |  |
| 22 | GE Healthcare is a registered trademark of General Electric Company Carestation is a registered trademark of Datex-Ohmeda, Inc. Datex-Ohmeda, Inc. is a General Electric Company 620, 650, 650c Pendant, 650c Wall Mount and 750 are trademarks of General Electric Company |  |
| 23 | Interact with us |  |