|  | English | Your Language |
| --- | --- | --- |
| 1 | OroCare™ Day Kits |  |
| 2 | You will need |  |
| 3 | OroCare Day Kit |  |
| 4 | Antibacterial liquid |  |
| 5 | Lip moisturiser |  |
| 6 | Read the instructions carefully. |  |
| 7 | Mount the supplied tube clip holder in a suitable place. |  |
| 8 | ...such as on a medirail |  |
| 9 | ...or stick to the head board or another flat surface. |  |
| 10 | Take the first pouch START. |  |
| 11 | Pour an antibacterial liquid into the dipping cup. |  |
| 12 | Connect suction tubing to the brush. |  |
| 13 | Dip the brush in the antibacterial liquid. |  |
| 14 | Brush the teeth. |  |
| 15 | Brush the tongue. |  |
| 16 | Suction. |  |
| 17 | Dispose of the brush in accordance with your hospital procedure. |  |
| 18 | Use the sponge stick to apply lip moisturiser. |  |
| 19 | Do not put the sponge inside the patient's mouth! |  |
| 20 | After 4 to 8 hours (depending on the kit) take the second pouch. |  |
| 21 | Pour an antibacterial liquid into the dipping cup. |  |
| 22 | Connect the suction tube to the suction wand. |  |
| 23 | Dip the suction wand in the antibacterial liquid. |  |
| 24 | Clean the mouth with the suction wand. |  |
| 25 | Suction out excess fluid and debris. |  |
| 26 | Dispose of the suction wand in accordance with your hospital procedure. |  |
| 27 | Use the sponge stick to apply lip moisturiser. |  |
| 28 | Do not put the sponge inside the patient's mouth! |  |
| 29 | Dispose of the sponge stick in accordance with your hospital procedure. |  |
| 30 | Use the remaining pouches every 4 or 8 hours depending on the kit. |  |
| 31 | Dispose of the hanger. |  |
| 32 | Using a kit that includes Chlorhexidine antibacterial mouth wash sachets. |  |
| 33 | Tear the perforated corner of the sachet and pour liquid into the dipping cup. Then continue as shown previously. |  |
| 34 | Ensuring compliance with hospital guidelines for VAP prevention |  |
| 35 |  |  |
| 36 |  |  |
| 37 |  |  |
| 38 |  |  |
| 39 |  |  |
| 40 |  |  |
| 41 |  |  |
| 42 |  |  |
| 43 |  |  |