	01
	WARNING

This set-up  and how to use video is not intended to replace the device Intructions For Use (IFU), read and familiarise yourself with the device IFU before first use.
	

	02
	Versi-flo™ nasal high flow system
	

	03
	Versi-flo™ is a new modular Nasal High Flow system that is both simple and versatile. Versi-flo is designed to be used throughout the hospital, wherever Nasal High Flow therapy is required. Areas of use include the ICU, Operating Room, Recovery and the Procedure Room.
	

	04
	The following video outlines set-up and how to use to support intubation in the operating room.
	

	05
	You will need
	

	06
	InterFlow™
	

	07
	Respiratory gas blender
	

	08
	InterActive™
	

	09
	Respiratory humidifier
	

	10
	Mobile equipment stand
	

	11
	Clear-Guard™
	

	12
	Breathing Filter
	

	13
	Versi-flo™
	

	14
	Heated wire breathing system
	

	15
	i-flo™A
	

	16
	Nasal high flow cannula
	

	17
	Setting up
	

	18
	Please view the InterFlow™ and InterActive™ how to use guides to learn more about correct set-up and operation of these devices.
	

	19
	Starting the InterFlow™ respiratory blender
	

	20
	To turn on press and hold the power on/off button.
	

	21
	Adult nasal high flow mode is recommended for nasal high flow during intubation
	

	22
	To change the O2%, press the green O2% value on the therapy screen.
	

	23
	To change the flow, press the blue L/min value on the therapy screen.
	

	24
	To start flow, press the play symbol on the therapy screen and confirm selection.
	

	25
	Starting the InterActive™ respiratory humidifier
	

	26
	Ensure flow of gas to the breathing system then to start humidification, press the power on/off.
	

	27
	Non-invasive humidification mode is recommended for nasal high flow during intubation.
	

	28
	Fitting the i-flo A high flow nasal cannula
	

	29
	Sizing guides are supplied in the box.
	

	30
	Hold the guide up to the patient's nares to determine the correct size cannula.
	

	31
	The cannula prongs should not create a seal with the nares or press on the septum.
	

	32
	Starting preoxygenation
	

	33
	Insert the nasal prongs into the patient's nares and lift the strap over their head.
	

	34
	Reposition the tube as required.
	

	35
	Prime the support clip and secure.
	

	36
	Connect the breathing system to start flow to the patient.
	

	37
	If planning to reuse the Versi-flo single limb breathing system, ensure that a Clear-Guard Versi-flo breathing filter is fitted between the breathing system and the i-flo A cannula (shown).
	

	38
	Ensure patient monitoring is set-up and then start anaesthetic induction.
	

	39
	Once induction is complete, increase the flow rate from the InterFlow.
	

	40
	To change the Flow, press the blue L/min value on the therapy screen.
	

	41
	If mask ventilation is required, simply lift the i-flo A cannula to the forehead and position the mask.
	

	42
	Reposition the cannula to resume nasal high flow support.
	

	43
	Intubate the patient and check the airway is secured.
	

	44
	Connect the Anaesthetic breathing system and begin mechanical ventilation.
	

	45
	Switch off the humidifier by pressing  power on/off and confirm.
	

	46
	To stop flow, press the pause symbol on the therapy screen and confirm selection.
	

	47
	Disconnect the breathing system from the cannual and dispose of the filter.
	

	48
	Protect the Versi-flo single limb breathing system between uses by ensuring that the patient end is capped.
	

	49
	Stow the Versi-flo heated wire limb using the tube management clip system.
	

	50
	Intersurgical
	

	51
	Quality, innovation and trust
	

	52
	Interact with us
	

	53
	intersurgical.com
	

	54
	
	

	55
	
	

	56
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	


