Nebuliser Therapy Video Script

Throughout if a mask is required, the appropriate EcoLite mask should be used

|  | English | Your language |
| --- | --- | --- |
| 1 | VOICE TRANSLATIONS |  |
| 01 | The European Respiratory Society publication ‘The European Lung White book’ states that:- “Respiratory diseases are among the leading causes of death worldwide. Lung infections (mostly pneumonia and tuberculosis) lung cancer and chronic obstructive pulmonary disease (COPD) together accounted for 9.5 million deaths worldwide during 2008, one-sixth of the global total’. |  |
| 02 | The diversity of respiratory disease is often not appreciated by those who do not work in the speciality. In many countries around the world, chest physicians treat everything from tuberculosis and the pulmonary complications of HIV to asthma, chronic obstructive pulmonary disease, cystic fibrosis, lung cancer and many others. |  |
| 03 | Lung diseases are not just smoking related – there are a wide variety of other causes ranging from genetic influences to nutritional, environmental and poverty related factors”. |  |
| 04 | Many respiratory diseases require careful nebuliser therapy to improve the day-to-day lives of sufferers. This therapy allows delivery of aerosolised respiratory drugs directly to the therapeutic site, the lungs. |  |
| 05 | There are several classes of respiratory Pharmaceuticals used to treat different respiratory conditions: - Bronchodilators and anti-inflammatories which are used to treat airway obstructions, - Antibiotics which are used to treat infections - Mucolytics which are used to treat abnormal secretions and - Opioids and analgesics which are used for pain relief Nebuliser therapy can be used to deliver all these drugs to the patient. |  |
| 06 | This video looks at - How a jet nebuliser works - Nebuliser delivery systems - Nebuliser performance factors and - Where nebulisers are used |  |
| 07 | We can now look at how a nebuliser works. A nebulisation system comprises four main components: A driving force, The Tubing, The Nebuliser itself, And The delivery system. |  |
| 08 | The driving force is a supply of pressurised gas, which can be either air, or oxygen, although oxygen should not be used if there are concerns about CO2 retention. Oxygen is readily available from the hospital pipeline systems or pressurised cylinders. Air is most often supplied from a small portable, electrically driven compressor. |  |
| 09 | The function of the tubing is to convey the compressed gas from source to the nebuliser. |  |
| 10 | A nebuliser is a device that can convert a liquid solution or suspension into aerosol droplets suitable for patient inhalation. The chamber of the Nebuliser unit is filled with a drug. The flow of gas is driven up a tube through the centre of the chamber, creating an area of low pressure, which draws the drug up to the top of the chamber itself. The aerosol produced is then forced at very high speed against the baffle, which recycles the large particles, returning them to the nebuliser cup. This results in a mist of appropriately sized particles of the drug, which flow out of the chamber. |  |
| 11 | The delivery system can be either: - A mouthpiece - A face mask - Or a T-Piece |  |
| 12 | A mouthpiece is the ideal administration device as there is - No leakage - And No deposition in the nasal passage or on the face. - This results in an efficient delivery of the drug. |  |
| 13 | A face mask is easy for the patient to use and is necessary when patients are unable to use a mouthpiece. The disadvantage of using a face mask is that drug can be deposited in the nasal passage or on the face. |  |
| 14 | Care needs to be taken to ensure that the mask is a good fit, particularly around the nose to prevent drug from getting into the eyes. The new generation of Intersurgical EcoLite masks feature a soft anatomical seal that provides a greatly improved fit compared to earlier mask designs. This minimises the potential of drug leaking into the eyes. |  |
| 15 | A face mask should be avoided if a nebulised steroid is administered, to avoid deposition on the skin and eyes. A facemask should also be avoided if anticholinergenic agents are to be administered to glaucoma patients. |  |
| 16 | If delivering antibiotics the immediate environment, staff and other patient's must be protected. This can be achieved by either using an anti pollution kit or adding a breathing filter to the exhalation side of the mouthpiece. |  |
| 17 | A T-piece is used for ventilated patients and is suitable for adults, children and neonates. The nebuliser and T-piece is positioned in the inspiratory limb of the ventilator breathing system. Use of a self sealing t-piece enables a nebuliser to be attached and detached from the ventilator breathing system without interfering with patient ventilation or inadvertently activating any alarms. |  |
| 18 | We can now look at the factors that influence the performance of a nebuliser. . Firstly it is important to understand the three main factors which determine where in the respiratory tract a nebulised drug droplet is deposited.These are:- - The Aerosol Droplet size. - The Breath pattern during inhalation. - And the Age and condition of the lung. The easiest parameter to control is the droplet size. This is also the main factor which determines where the nebulised drug is deposited and so is a key parameter to consider in the design of a nebuliser. |  |
| 19 | In order to maximise drug deposition in the targeted area of the lung, there are however other factors to consider which determine nebuliser performance. These are the nebuliser:- - Efficiency - Mass output - Respirable output - Nebulisation time - Residual volume - and - Mass Median Diameter |  |
| 20 | The efficiency of a nebuliser is measured by the aerosol output at varying particle sizes and is expressed as the percentage of particles of optimum size. The optimum particle sizes are: 2 to 5 microns for tracheobronchial deposition and 0.5 to 2 microns for alveolar deposition. Particles larger than 5 microns may be deposited in the nose and mouth. Resulting in the drug being swallowed. |  |
| 21 | Mass output is defined as the total weight of drug particles produced by the nebuliser and is expressed in grams per minute. |  |
| 22 | Respirable output is the weight of drug particles produced by the nebuliser of the optimum particle size and this is also expressed in grams per minute |  |
| 23 | Residual volume is the volume of drug remaining at the end of the nebulisation procedure. This may be minimised by tapping the cup when the nebuliser begins to splutter |  |
| 24 | Probably the most simple and useful single measure of droplet size is the mass median diameter usually abbreviated to MMD. This is defined as half of the “mass” of nebulised aerosol is contained in droplets, which are larger than the MMD, and the other half are smaller. |  |
| 25 | Intersurgical offers two nebulisers which produce particles for tracheobronchial deposition, the Cirrus 2, and the high performance Hot Top 2. Lets look at these two options in detail |  |
| 26 | The Cirrus 2 is a conventional, closed jet nebuliser, which produces the majority of particles between 2 and 5 microns in diameter. This versatile nebuliser can be used in all applications. It can be used for adults and children, with a mouthpiece or a mask and because it is a closed system it can also be used for ventilated patients. The nebuliser cup only requires a quarter turn, for fast, accurate filling. And a quarter turn closes the cup with a positive click to indicate the cup has sealed. |  |
| 27 | The high performance Hot Top 2 also produces the majority of particles between 2 and 5 microns in diameter, however it has an open vent design which uses the venturi effect to increase gas flow through the nebuliser. This increases the output and therefore greatly reduces the nebulisation time. It is suitable for use with compressors, which typically have lower output flows, because the hot top 2 performance at gas flows of 6l/min, approximates to a conventional closed nebuliser at 8l/min The hot top2 nebuliser can also be used with a Sure-loc tube which provides a secure connection, preventing accidental disconnections. An adaptor is attached to the flow meter which enables the sure-loc tube to be attached to the flow meter and the other end of the sure-loc tube is attached to the nebuliser. Sureloc tubing can however also be used on a standard nebuliser spigot and on standard tubing. The hot top 2 is suitable for adults and children and can be used with a mouthpiece or a mask, but is not suitable for ventilated patients due to the open vent design. Closed nebulisers of the cirrus2 type should be used in this application. |  |
| 28 | The use of Nebulisers for Respiratory Therapy is widespread. Their importance and practical use can be seen in pre-hospital emergency care, in Hospitals and by patients at home. |  |
| 29 | The European Respiratory Society Guidelines on the use of nebulizers, felt that it was appropriate for ambulance staff and paramedics to institute bronchodilator treatment as early as possible in acute asthma using nebulised bronchodilator therapy driven by oxygen”. |  |
| 30 | Nebulisers are also used in accident and emergency to deliver Salbutamol to asthma patients and ipratropium bromide to CODP patients |  |
| 31 | Some patients who are in Intensive Care Units and who are ventilated, require Inhalation Therapy. The required volume of drug is put into the nebuliser. The nebuliser and a T-Piece is then placed into the inspiratory limb of the ventilator breathing system, ideally 30 to 45 cm from the Y-Piece. |  |
| 32 | If a heat & moisture exchanger is fitted this must be removed and an alternative source of humidification must be provided. |  |
| 33 | Consideration should be given to placing a filter in the expiratory and inspiratory limbs of the breathing system to protect the ventilator from contamination. Resistance to flow should also be monitored |  |
| 34 | The gas flow to the nebuliser should be set at 8 L/min. |  |
| 35 | Nebulisers can be used to delivery aerosol therapy for patients requiring Intermittent Positive Pressure Breathing (IPPB) physiotherapy. The aims of IPPB are to: - Increase lung volume - Decrease the work of breathing - Mobilise secretions - Increase collateral ventilation A nebuliser can add humidity to the dry gases coming from the ventilator, in which case 0.9% saline would be used, or it can administer a bronchodilator to patients with acute severe asthma. |  |
| 36 | Nebulisers are used extensively in hospital wards. For patients who do not need oxygen, air is advisable as the driving force. |  |
| 37 | Select a mouthpiece if possible, unless patient preference or excessive breathlessness precludes this. Nose breathing filters the drug and reduces lung deposition by a quarter and aerosol escaping from a mask can affect the eyes. |  |
| 38 | If possible, have the patient sitting upright in a chair or side-lying to maximize basal deposition. Ensure breathless patients have support for their elbows. |  |
| 39 | Fill to between 2.5 and 10 mL, depending on the nebuliser. Dilute with normal saline if appropriate, this will reduce the amount of wasted drug. Set the flow rate to 8 L/min, unless a compressor is used, which has a pre-set flow rate. |  |
| 40 | Advise the patient: - To mouth-breath if possible - To intersperse tidal breaths with some deep breaths and some end-inspiratory holds to improve deposition - Not to obstruct the exhalation port if using a mouthpiece or the inlet ports if using an open vent nebuliser such as the HOT Top2 - And to allow adequate time for completion. |  |
| 41 | Patients at home use Nebulisers extensively. This means that the treatment received by the patient in hospital can be continued in the patients home releasing valuable bed space. This treatment is supervised by nurses of the Acute Respiratory Team |  |
| 42 | To summarise, we have looked at - How a nebuliser works - Nebuliser delivery systems - Nebuliser performance factors - And where nebulisers are used And we hope this will help understanding in this discipline. |  |
| 43 | TEXT TRANSLATIONS |  |
|  | While the information contained within this video was considered correct by Intersurgical at the time of production, it in no way qualifies anyone to undertake any medical activity. Intersurgical can accept no responsibility for the medical practices of persons who directly or indirectly reference this programme. |  |
| 44 | Intersurgical Presents Nebuliser Therapy |  |
| 45 | - lung infections - Lung cancer - Chronic obstructive pulmonary disease (COPD) |  |
| 46 | While the information contained within this video was considered correct by Intersurgical at the time of production, it in no way qualifies anyone to undertake any medical activity. Intersurigcal can accept no responsibility for the medical ractices of persons whjo directly or indirectly reference this programme. |  |
| 47 | Nebuliser Therapy Introduction - Tuberculosis - Pulmonary complications of HIV - Asthma - Chronic obstructive pulmonary disease (COPD) - Cystic fibrosis - Lung cancer |  |
| 48 | Nebuliser Therapy Introduction |  |
| 49 | Drug Type Bronchodilators and anti-inflammatories Antibiotics Mucolytics Opioids and analgesics To Treat Airway obstructions Infections Abnormal secretions Pain relief |  |
| 50 | Nebuliser Therapy Introduction - How a jet nebuliser works - Nebuliser delivery systems - Nebuliser performance factors - Where nebulisers are used |  |
| 51 | How a Nebuliser Works 1.A driving force 2.The tubing 3.The nebuliser 4.The delivery system |  |
| 52 | How a Nebuliser Works: Delivery Systems - Mouthpiece - Face mask - T-piece |  |
| 53 | Mouthpiece - No leakage. - No deposition in the nasal passage or on the face. - efficient drug delivery Face mask - Easy for the patient to use. - Necessary for patients who are unable to use a mouthpiece. - Drug can be deposited in the nasal passage or on the face. |  |
| 54 | Face mask Care needs to be taken to ensure that the mask is a good fit. Intersurgical EcoLite masks feature a soft anatomical seal. |  |
| 55 | How a Nebuliser Works: Delivery Systems Avoid a Facemask when administering - A Steroid. - Anticholinergenic agents to glaucoma patients. |  |
| 56 | T-Piece Used for ventilated patients and is suitable for adults, children and neonates. Enables a nebuliser to be attached and detached from the ventilator breathing system without interfering with patient ventilation or any alarms. |  |
| 57 | How a Nebuliser Works: Delivery Systems |  |
| 58 | Nebuliser Delivery Systems Self sealing T-Piece Used for ventilated patients and is suitable for adults, children and neonates. Enables a nebuliser to be attached and detached from the ventilator breathing system without interfering with patient ventilation or any alarms. |  |
| 59 | Nebuliser Performance Factors Factors determining where in the respiratory tract a nebulised drug is deposited: 1. Aerosol droplet size. 2. Breath pattern during inhalation. 3. Age and condition of the lung. |  |
| 60 | Nebuliser Performance Factors - Efficiency - Mass output - Respirable output - Nebulisation time - Residual volume - Mass Median Diameter |  |
| 61 | Nebuliser Performance Factors :Efficiency The efficiency of a nebuliser is measured by the aerosol output at varying particle sizes. This is expressed as the percentage of particles of optimum size. . |  |
| 62 | 2 to 5 microns for Tracheobronchial deposition. 0.5 to 2 microns for alveolar deposition. 5 microns may be deposited in the nose and mouth |  |
| 63 | Nebuliser Performance Factors: Mass Output Total weight of drug particles produced by the nebuliser. Expressed in g/min. |  |
| 64 | Nebuliser Performance Factors:Respirable Output Weight of drug particles produced by the nebuliser of the optimum particle size. Expressed in g/min. |  |
| 65 | Nebuliser Performance Factors: Residual Volume The volume of drug remaining at the end of the nebulisation procedure. |  |
| 66 | Nebuliser Performance Factors: Mass Median Diameter Mass median output Weight above Weight below |  |
| 67 | Nebuliser Products |  |
| 68 | Nebuliser Products: Cirrus 2 |  |
| 69 | Nebulisers Products: Hot Top 2 The HOT Top2 performance at gas flows of 6L/min, approximates to a conventional closed nebuliser at 8L/min. |  |
| 70 | Hot top2 Is not suitable for ventilated patients due to the open vent design. Closed nebulisers of the cirrus2 type should be used. |  |
| 71 | Where are nebulisers used? |  |
| 72 | Where are nebulisers used? Ambulances |  |
| 73 | Where nebulisers are used? Accident and Emergency Salbutamol delivered to asthma patients Ipratropium bromide delivered to CODP patients |  |
| 74 | Where nebulisers are used? Intensive Care |  |
| 75 | Where nebulisers are used? IPPB Physiotherapy Aims of IPPB: - Increase lung volume - Decrease the work of breathing - Mobilise secretions - Increase collateral ventilation |  |
| 76 | Where nebulisers are used? Ward - Select a mouthpiece if possible - Nose breathing filters the drug and reduces lung deposition by a quarter - Aerosol escaping from a mask can affect the eyes. |  |
| 77 | Where nebulisers are used? Ward |  |
| 78 | Title: Where nebulisers are used? Ward Filling the nebuliser: Fill to between 2.5 and 10ml. Dilute with normal saline if appropriate, this ill reduce the residual volume. |  |
| 79 | Where nebulisers are used? Ward Advise the patient: - To mouth-breath if possible - Intersperse tidal breaths with some deep breaths and some end-inspiratory holds to improve deposition. - Not to obstruct the exhalation port or inlet port if using a mouthpiece in an open vent nebuliser such as the HOT Top2 - To allow adequate time for completion improve deposition. |  |
| 80 | Where nebulisers are used? Homecare |  |
| 81 | Patients at home use Nebulisers extensively. Treatment can be continued in the patients home releasing valuable bed space. This treatment is supervised by nurses of the Acute Respiratory Team. |  |
| 82 | Nebuliser Therapy Summary Summary - How a jet nebuliser works - Nebuliser delivery systems - Nebuliser performance factors - Where nebulisers are used |  |
| 83 | Intersurgical Complete respiratory systems Quality innovation and choice |  |
|  | # YOUTUBE Title, Description, Tags |  |
| 84 | # Nebuliser Therapy Training from Intersurgical |  |
| 85 | The Nebuliser Therapy Training video from Intersurgical looks at how a jet nebuliser works, nebuliser delivery systems, nebuliser performance factors and where nebulisers are used. For further information or to make an enquiry visit our website http://www.intersurgical.com/products/oxygen-and-aerosol-therapy/nebuliser-therapy. |  |
| 86 | Nebuliser, training, lungs, intersurgical, nebuliser therapy performance, how to use a nebuliser, oxygen and aerosol therapy, nebuliser training, nebuliser drug therapy, jet nebulisers, nebuliser driving force, nebuliser mouthpieces, face mask delivery, t-piece delivery, mass median output, Cirrus 2, HOT Top 2, IPPB therapy, small volume nebuliser, aerosol therapy |  |

The Burden of Lung Disease, a Statistics Report from the British Thoracic Society

European Respiratory Society Guidelines on the use of nebulisers

ERS Guidelines page 230

European Respiratory Society Guidelines on the use of nebulisers, page 236

University of Coventry & Warwickshire NHS Trust, Intermittent Positive Pressure Breathing Protocol

Salmon et al., 1991

Hess, 1994

Salmon et al., 1991