| 22mm self sealing T-piece |  |  |
| --- | --- | --- |
|  | English | (your language) |
| 01 | 22mm Self Sealing T-Piece For inline nebulisation of ventilated patients with Cirrus 2 nebuliser |  |
| 02 | The self-sealing T-piece is fitted into the inspiratory limb of the ventilator breathing system. |  |
| 03 | Disconnect protective port cap prior to attaching the Cirrus 2 nebuliser. |  |
| 04 | Enables the Cirrus 2 nebuliser to be attached (or detached) from the ventilator breathing system |  |
| 05 | Without interfering with patient ventilation or inadvertently activating alarms. |  |
| 06 | Seal opens automatically when the Cirrus 2 nebuliser is attached. |  |
| 07 | Start nebulisation. |  |
| 08 | Nebulisation complete. Remove nebuliser. |  |
| 09 | Reconnect protective port cap. |  |
| 10 | The Self-Sealing T-Pieceis available individually and as a kit whichincorporates the Cirrus2 nebuliser and drivegas tubing. |  |
| Title | Self sealing T-piece kit for in-line nebulisation. |  |
|  | The Self-sealing T-Piece is only intended for use with the Cirrus 2 nebuliser |  |
| Description | The Cirrus2 self sealing T piece kit can be used to introduce a nebuliser without breaking a ventilated circuit. |  |
| Tags | Nebulisation, ventilation, in-line |  |

Please translate and put text in bold if stated.