|  | English | (Your language) |
| --- | --- | --- |
| 01 | This video is a brief introduction to the TRI-BALL® Respiratory Exerciser. The product must always be used in accordance with the Instructions for Use supplied with the device. This video is not a replacement for the Instructions for Use. TRI-BALL® is a registered trademark of Leventon S. A. |  |
| 02 | Incentive Spirometry TRI-BALL® Respiratory Exerciser How to use |  |
| 03 | TRI-BALL® respiratory exerciser is designed to assist patients who have undergone abdominal or thoracic intervention to regain normal breathing. For adults and paediatric patients over the age of 8. |  |
| 04 | How to use |  |
| 05 | Remove from packaging and wash the mouthpiece with warm water. |  |
| 06 | Attach the flexible tube and mouthpiece to the device. |  |
| 07 | Breathe out normally, place the mouthpiece in the mouth making a seal with the lips and hold the TRI-BALL® upright. |  |
| 08 | To achieve a low inspiratory flow rate, inhale so that the first ball rises to the top of its chamber. |  |
| 09 | Do not exhale into the TRI-BALL®. |  |
| 10 | To achieve a medium inspiratory flow rate, inhale so that the first and second balls rise to the top of their chambers. |  |
| 11 | To achieve a maximum inspiratory flow rate inhale so that all 3 balls are at the top of their chambers. |  |
| 12 | Rest for a moment breathing normally. |  |
| 13 | Repeat the process as instructed. |  |
| 14 | After use, wash the mouthpiece with water and store in the side case to dry. Once dry return to the bag for later use. |  |
| 15 | Intersurgical Quality, innovation and choice. |  |
| 16 | Interact with us |  |